# ABC-immunohistochemistry protocol

Let slides dry at room temperature for 30min

Use this time to label slides and create ridges around the tissue sections using a DAKO pen or nail polish (to prevent incubation fluids from escaping).

Rehydrate tissue:

0.1M PBS for 5min

### Pretreatments (depends on tissue and experience)

Fixation of fresh tissue

Incubate in 4% formaldehyde in 0.1M PBS, 5 to 30min

Rinse 3x10min in PBS

Sodiumborohydrid (to remove excess fixation products and make epitopes more accessible)

NaBH4 (OH)2 1% in PBS, 5 to 10min

Rinse 4x10min in PBS

Ethanol treatment + H2O2 (ethanol does not work with all antibodies -damages membranes)

20% ethanol in PBS (methanol is suggested in the kit)

Add 1% H2O2 to remove tisse peroxidase activity (RBC) in this step

-or perform as separate step if ethanol treatment is not performed.

Incubate 5min

Rinse 4x10min in PBS

Hydrogen peroxide treatment (to remove tisse peroxidase activity (RBC))

Incubate in 1% H2O2 in PBS if not included in ethanol step. Incubate 5min.

Rinse 4x10min in PBS

Preincubation

Incubate in PBS (or high salt solution) with 5% normal serum, 0.3-0.5% triton: 1-2h

Poor of preincubation but do not rinse

### Primary antibody

Adding primary antibody

Add primary diluted in incubation solution with 2.5% normal serum

Incubate in humid chamber at 4ºC for 24h (polyclonal) or 48-72h (monoclonal)

Rinse 4x10min in PBS

### ABC-preparation

Prepare ABC-mix (can be prepared up to 2-3h in advance)

Add solutions of ABC kit to incubation solution to

final concentration of A, 1:500

final concentration of B, 1:500

### Secondary antibody

Adding secondary antibody

Add biotinylated secondary antibody

diluted (1:500) in incubation solution with 2.5% normal serum

Incubate at RT for 1h

Rinse 4x10min in PBS

### ABC-incubation and detection

Incubation

Add ABC solution

Incubate 1.5h at RT

Rinse 4x10min in PBS

Prepare detection coctails (without and with H2O2)

Prepare 0.3% H2O2 stock solution in Aq dest

Brown reaction product (forms more slowly), DAB

Without H2O2: to 25ml TBS add 10mg DAB (one tablet)

With H2O2: add 20µl of 0.3% H2O2 to every 2ml of solution above

Black reaction product (forms more rapidly), DAB-nickel ammonium sulfate

Without H2O2: to 25ml TBS

add 10mg DAB (one tablet)

add 625µl 8% NiAmSO4 (8% stock solution in Aq dest)

With H2O2: add 20µl of 0.3% H2O2 to every 2ml of solution above

Princubate

Add detection solution without H2O2

Incubate 5min

Incubate (if uncertain about reaction times do this slide by slide)

Add incubation solution with H2O2

Follow reaction under microscope 30s - minutes

Interrupt process by rinsing off incubation solution

Rinse 4x10min in PBS (or tap water)

Counterstain as desired

Mount slides with glycerol and coverslip